## min
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 4
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:54
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 246.1 | Not Ok (-21.9%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 3
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:53
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 256.7 | Not Ok* (-18.5%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 2
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:51
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 280.7 | Ok* (-10.9%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 1
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:47
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 326.5 | Ok (3.6%)

## mid
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 4
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:54
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 1150.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 10.2 | Marker 3 | Array
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 51.5
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 4.78
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 5.23
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 246.1 | Not Ok (-21.9%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 3
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:53
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 1100.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 9.5 | Marker 3 | Array
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 51.4
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 5.00
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 5.47
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 256.7 | Not Ok* (-18.5%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 2
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:51
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 1000.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 8.1 | Marker 3 | Array
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 51.0
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 5.50
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 6.02
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 280.7 | Ok* (-10.9%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 1
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:47
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 850.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 5.7 | Marker 3 | Array
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 50.4
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 6.48
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 7.09
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 326.5 | Ok (3.6%)

## full
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 4
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:54
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 1150.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 10.2 | Marker 3 | Array
Alpha [%/°C] | 0.042 | Temperature measurement mode | No measurements
Beta [%/°C] | -0.320 | Temperature measurement mode | AUTO (IEC 60904-5)
Rs [Ω] | ---- | Reference cell temperature [°C] | ----
FF@Nominal | 0.79 | FF@OPC | 0.73 | FF@STC | 0.73
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 51.5
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 4.78
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 5.23
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 246.1 | Not Ok (-21.9%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 3
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:53
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 1100.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 9.5 | Marker 3 | Array
Alpha [%/°C] | 0.042 | Temperature measurement mode | No measurements
Beta [%/°C] | -0.320 | Temperature measurement mode | AUTO (IEC 60904-5)
Rs [Ω] | ---- | Reference cell temperature [°C] | ----
FF@Nominal | 0.79 | FF@OPC | 0.73 | FF@STC | 0.73
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 51.4
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 5.00
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 5.47
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 256.7 | Not Ok* (-18.5%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 2
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:51
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 1000.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 8.1 | Marker 3 | Array
Alpha [%/°C] | 0.042 | Temperature measurement mode | No measurements
Beta [%/°C] | -0.320 | Temperature measurement mode | AUTO (IEC 60904-5)
Rs [Ω] | ---- | Reference cell temperature [°C] | ----
FF@Nominal | 0.79 | FF@OPC | 0.73 | FF@STC | 0.72
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 51.0
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 5.50
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 6.02
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 280.7 | Ok* (-10.9%)
Manufacturer | SUNPOWER | Number of modules | 12 | Test number | 1
Model | SPR-E19-315-BLK | Number of strings | 1 | Date and time | 2022-03-28 19:47
Module Type | Std - Single side PV module | Age of service [Year] | 0.0
Degradation [%] | 0.0 | Irradiance front [W/m²] | 850.0 | Marker 1 | Plant
Pmax Tollerance+ [%] | 15.0 | Irradiance back side Top ¦ Bottom [W/m²] | ---- ¦ ---- | Marker 2 | Combiner box
Pmax Tollerance- [%] | 15.0 | Temperature [°C] | 5.7 | Marker 3 | Array
Alpha [%/°C] | 0.042 | Temperature measurement mode | No measurements
Beta [%/°C] | -0.320 | Temperature measurement mode | AUTO (IEC 60904-5)
Rs [Ω] | ---- | Reference cell temperature [°C] | ----
FF@Nominal | 0.79 | FF@OPC | 0.73 | FF@STC | 0.71
Voc@Nominal [V] | 64.6 | Voc@OPC [V] | 817.2 | Voc@STC [V] | 64.4
Vmpp@Nominal [V] | 54.7 | Vmpp@OPC [V] | 656.2 | Vmpp@STC [V] | 50.4
Impp@Nominal [A] | 5.76 | Impp@OPC [A] | 5.46 | Impp@STC [A] | 6.48
Isc@Nominal [A] | 6.14 | Isc@OPC [A] | 5.98 | Isc@STC [A] | 7.09
Pmax@Nominal [W] | 315.0 | Pmax@OPC [W] | 3582.7 | Pmax@STC [W] | 326.5 | Ok (3.6%)

## samples
VOpc | 8.1712 | 69.3 | 70.89 | 72.44 | 73.96 | 75.48 | 77.05 | 78.55 | 80.07 | 89.31 | 96.94 | 106.08 | 115.23 | 124.35 | 131.87 | 140.98 | 150.06 | 159.16 | 168.23 | 175.72 | 184.69 | 192.22 | 202.74 | 210.24 | 220.79 | 228.25 | 237.25 | 244.68 | 255.09 | 262.57 | 271.46 | 280.36 | 289.26 | 296.71 | 307.06 | 315.9 | 324.75 | 332.12 | 342.41 | 349.77 | 358.59 | 367.4 | 376.2 | 386.48 | 393.8 | 402.48 | 411.23 | 419.93 | 428.62 | 437.32 | 446 | 454.7 | 463.35 | 471.99 | 482.01 | 489.21 | 499.25 | 507.82 | 514.97 | 524.92 | 532.04 | 542.01 | 550.5 | 558.97 | 567.41 | 577.28 | 585.65 | 595.46 | 603.79 | 612.04 | 614.74 | 618.87 | 621.59 | 627.02 | 628.38 | 633.75 | 637.75 | 640.38 | 643.09 | 648.33 | 652.3 | 656.17 | 658.82 | 662.61 | 665.23 | 668.95 | 672.8 | 677.75 | 681.43 | 685.08 | 687.46 | 692.25 | 695.83 | 698.11 | 702.74 | 706.06 | 709.48 | 712.69 | 717 | 720.17 | 723.23 | 727.28 | 732.14 | 734.88 | 739.4 | 742.09 | 745.48 | 749.57 | 752.75 | 756.48 | 760.05 | 764.16 | 767.35 | 771.01 | 774.93 | 778.07 | 782 | 785.44 | 789.36 | 792.76 | 796.05 | 800.01 | 803.32 | 807.32 | 810.63 | 812.24 | 815.5 | 817.15
IOpc | 5.98 | 5.98 | 5.98 | 5.98 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.96 | 5.96 | 5.96 | 5.96 | 5.96 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.93 | 5.93 | 5.93 | 5.93 | 5.93 | 5.92 | 5.92 | 5.92 | 5.92 | 5.92 | 5.91 | 5.91 | 5.91 | 5.91 | 5.91 | 5.9 | 5.9 | 5.9 | 5.89 | 5.89 | 5.89 | 5.88 | 5.88 | 5.87 | 5.87 | 5.87 | 5.86 | 5.86 | 5.86 | 5.85 | 5.85 | 5.85 | 5.84 | 5.83 | 5.82 | 5.8 | 5.79 | 5.77 | 5.75 | 5.72 | 5.7 | 5.69 | 5.67 | 5.65 | 5.64 | 5.61 | 5.59 | 5.57 | 5.55 | 5.52 | 5.49 | 5.46 | 5.43 | 5.4 | 5.37 | 5.33 | 5.29 | 5.24 | 5.19 | 5.14 | 5.11 | 5.04 | 4.98 | 4.94 | 4.86 | 4.8 | 4.73 | 4.66 | 4.57 | 4.5 | 4.42 | 4.32 | 4.18 | 4.1 | 3.97 | 3.88 | 3.77 | 3.62 | 3.51 | 3.36 | 3.22 | 3.05 | 2.9 | 2.74 | 2.55 | 2.39 | 2.19 | 2.01 | 1.79 | 1.59 | 1.4 | 1.15 | 0.94 | 0.68 | 0.46 | 0.35 | 0.12 | 0
POpc | 48.8635 | 414.414 | 423.9222 | 433.1912 | 441.5412 | 450.6156 | 459.9885 | 468.9435 | 478.0179 | 533.1807 | 577.7624 | 632.2368 | 686.7708 | 741.126 | 785.9452 | 838.8309 | 892.8569 | 947.002 | 1000.9684 | 1045.5339 | 1098.9055 | 1143.709 | 1204.2756 | 1248.8257 | 1311.4926 | 1355.8051 | 1409.265 | 1453.3992 | 1515.2346 | 1559.6659 | 1609.7577 | 1662.5347 | 1715.3118 | 1759.4902 | 1820.8657 | 1870.1279 | 1922.52 | 1966.1504 | 2027.0673 | 2070.6384 | 2119.2668 | 2171.334 | 2223.342 | 2284.0969 | 2327.3579 | 2374.6321 | 2426.2571 | 2477.5869 | 2524.5718 | 2575.8147 | 2626.9399 | 2673.6362 | 2724.498 | 2770.5813 | 2829.3987 | 2871.6626 | 2925.605 | 2975.8252 | 3017.7241 | 3070.7817 | 3112.4338 | 3170.7585 | 3214.9202 | 3258.7949 | 3302.3262 | 3348.2244 | 3390.9136 | 3435.8042 | 3471.7925 | 3500.8687 | 3504.0178 | 3521.3704 | 3524.4155 | 3542.6631 | 3544.0632 | 3555.3376 | 3565.0227 | 3566.9167 | 3569.1497 | 3578.7817 | 3581.1267 | 3582.6882 | 3577.3926 | 3578.094 | 3572.2849 | 3565.5034 | 3559.1118 | 3551.4099 | 3536.6216 | 3521.3113 | 3512.9209 | 3488.9399 | 3465.2334 | 3448.6633 | 3415.3164 | 3389.0881 | 3355.8403 | 3321.1353 | 3276.6902 | 3240.7649 | 3196.6765 | 3141.8499 | 3060.3452 | 3013.0081 | 2935.4182 | 2879.3093 | 2810.4595 | 2713.4434 | 2642.1526 | 2541.7727 | 2447.3611 | 2330.688 | 2225.3149 | 2112.5674 | 1976.0714 | 1859.5874 | 1712.5801 | 1578.7344 | 1412.9543 | 1260.4884 | 1114.47 | 920.0115 | 755.1208 | 548.9776 | 372.8898 | 284.284 | 97.86 | 0
VOpc | 8.1712 | 69.3 | 70.89 | 72.44 | 73.96 | 75.48 | 77.05 | 78.55 | 80.07 | 89.31 | 96.94 | 106.08 | 115.23 | 124.35 | 131.87 | 140.98 | 150.06 | 159.16 | 168.23 | 175.72 | 184.69 | 192.22 | 202.74 | 210.24 | 220.79 | 228.25 | 237.25 | 244.68 | 255.09 | 262.57 | 271.46 | 280.36 | 289.26 | 296.71 | 307.06 | 315.9 | 324.75 | 332.12 | 342.41 | 349.77 | 358.59 | 367.4 | 376.2 | 386.48 | 393.8 | 402.48 | 411.23 | 419.93 | 428.62 | 437.32 | 446 | 454.7 | 463.35 | 471.99 | 482.01 | 489.21 | 499.25 | 507.82 | 514.97 | 524.92 | 532.04 | 542.01 | 550.5 | 558.97 | 567.41 | 577.28 | 585.65 | 595.46 | 603.79 | 612.04 | 614.74 | 618.87 | 621.59 | 627.02 | 628.38 | 633.75 | 637.75 | 640.38 | 643.09 | 648.33 | 652.3 | 656.17 | 658.82 | 662.61 | 665.23 | 668.95 | 672.8 | 677.75 | 681.43 | 685.08 | 687.46 | 692.25 | 695.83 | 698.11 | 702.74 | 706.06 | 709.48 | 712.69 | 717 | 720.17 | 723.23 | 727.28 | 732.14 | 734.88 | 739.4 | 742.09 | 745.48 | 749.57 | 752.75 | 756.48 | 760.05 | 764.16 | 767.35 | 771.01 | 774.93 | 778.07 | 782 | 785.44 | 789.36 | 792.76 | 796.05 | 800.01 | 803.32 | 807.32 | 810.63 | 812.24 | 815.5 | 817.15
IOpc | 5.98 | 5.98 | 5.98 | 5.98 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.96 | 5.96 | 5.96 | 5.96 | 5.96 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.93 | 5.93 | 5.93 | 5.93 | 5.93 | 5.92 | 5.92 | 5.92 | 5.92 | 5.92 | 5.91 | 5.91 | 5.91 | 5.91 | 5.91 | 5.9 | 5.9 | 5.9 | 5.89 | 5.89 | 5.89 | 5.88 | 5.88 | 5.87 | 5.87 | 5.87 | 5.86 | 5.86 | 5.86 | 5.85 | 5.85 | 5.85 | 5.84 | 5.83 | 5.82 | 5.8 | 5.79 | 5.77 | 5.75 | 5.72 | 5.7 | 5.69 | 5.67 | 5.65 | 5.64 | 5.61 | 5.59 | 5.57 | 5.55 | 5.52 | 5.49 | 5.46 | 5.43 | 5.4 | 5.37 | 5.33 | 5.29 | 5.24 | 5.19 | 5.14 | 5.11 | 5.04 | 4.98 | 4.94 | 4.86 | 4.8 | 4.73 | 4.66 | 4.57 | 4.5 | 4.42 | 4.32 | 4.18 | 4.1 | 3.97 | 3.88 | 3.77 | 3.62 | 3.51 | 3.36 | 3.22 | 3.05 | 2.9 | 2.74 | 2.55 | 2.39 | 2.19 | 2.01 | 1.79 | 1.59 | 1.4 | 1.15 | 0.94 | 0.68 | 0.46 | 0.35 | 0.12 | 0
POpc | 48.8635 | 414.414 | 423.9222 | 433.1912 | 441.5412 | 450.6156 | 459.9885 | 468.9435 | 478.0179 | 533.1807 | 577.7624 | 632.2368 | 686.7708 | 741.126 | 785.9452 | 838.8309 | 892.8569 | 947.002 | 1000.9684 | 1045.5339 | 1098.9055 | 1143.709 | 1204.2756 | 1248.8257 | 1311.4926 | 1355.8051 | 1409.265 | 1453.3992 | 1515.2346 | 1559.6659 | 1609.7577 | 1662.5347 | 1715.3118 | 1759.4902 | 1820.8657 | 1870.1279 | 1922.52 | 1966.1504 | 2027.0673 | 2070.6384 | 2119.2668 | 2171.334 | 2223.342 | 2284.0969 | 2327.3579 | 2374.6321 | 2426.2571 | 2477.5869 | 2524.5718 | 2575.8147 | 2626.9399 | 2673.6362 | 2724.498 | 2770.5813 | 2829.3987 | 2871.6626 | 2925.605 | 2975.8252 | 3017.7241 | 3070.7817 | 3112.4338 | 3170.7585 | 3214.9202 | 3258.7949 | 3302.3262 | 3348.2244 | 3390.9136 | 3435.8042 | 3471.7925 | 3500.8687 | 3504.0178 | 3521.3704 | 3524.4155 | 3542.6631 | 3544.0632 | 3555.3376 | 3565.0227 | 3566.9167 | 3569.1497 | 3578.7817 | 3581.1267 | 3582.6882 | 3577.3926 | 3578.094 | 3572.2849 | 3565.5034 | 3559.1118 | 3551.4099 | 3536.6216 | 3521.3113 | 3512.9209 | 3488.9399 | 3465.2334 | 3448.6633 | 3415.3164 | 3389.0881 | 3355.8403 | 3321.1353 | 3276.6902 | 3240.7649 | 3196.6765 | 3141.8499 | 3060.3452 | 3013.0081 | 2935.4182 | 2879.3093 | 2810.4595 | 2713.4434 | 2642.1526 | 2541.7727 | 2447.3611 | 2330.688 | 2225.3149 | 2112.5674 | 1976.0714 | 1859.5874 | 1712.5801 | 1578.7344 | 1412.9543 | 1260.4884 | 1114.47 | 920.0115 | 755.1208 | 548.9776 | 372.8898 | 284.284 | 97.86 | 0
VOpc | 8.1712 | 69.3 | 70.89 | 72.44 | 73.96 | 75.48 | 77.05 | 78.55 | 80.07 | 89.31 | 96.94 | 106.08 | 115.23 | 124.35 | 131.87 | 140.98 | 150.06 | 159.16 | 168.23 | 175.72 | 184.69 | 192.22 | 202.74 | 210.24 | 220.79 | 228.25 | 237.25 | 244.68 | 255.09 | 262.57 | 271.46 | 280.36 | 289.26 | 296.71 | 307.06 | 315.9 | 324.75 | 332.12 | 342.41 | 349.77 | 358.59 | 367.4 | 376.2 | 386.48 | 393.8 | 402.48 | 411.23 | 419.93 | 428.62 | 437.32 | 446 | 454.7 | 463.35 | 471.99 | 482.01 | 489.21 | 499.25 | 507.82 | 514.97 | 524.92 | 532.04 | 542.01 | 550.5 | 558.97 | 567.41 | 577.28 | 585.65 | 595.46 | 603.79 | 612.04 | 614.74 | 618.87 | 621.59 | 627.02 | 628.38 | 633.75 | 637.75 | 640.38 | 643.09 | 648.33 | 652.3 | 656.17 | 658.82 | 662.61 | 665.23 | 668.95 | 672.8 | 677.75 | 681.43 | 685.08 | 687.46 | 692.25 | 695.83 | 698.11 | 702.74 | 706.06 | 709.48 | 712.69 | 717 | 720.17 | 723.23 | 727.28 | 732.14 | 734.88 | 739.4 | 742.09 | 745.48 | 749.57 | 752.75 | 756.48 | 760.05 | 764.16 | 767.35 | 771.01 | 774.93 | 778.07 | 782 | 785.44 | 789.36 | 792.76 | 796.05 | 800.01 | 803.32 | 807.32 | 810.63 | 812.24 | 815.5 | 817.15
IOpc | 5.98 | 5.98 | 5.98 | 5.98 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.96 | 5.96 | 5.96 | 5.96 | 5.96 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.93 | 5.93 | 5.93 | 5.93 | 5.93 | 5.92 | 5.92 | 5.92 | 5.92 | 5.92 | 5.91 | 5.91 | 5.91 | 5.91 | 5.91 | 5.9 | 5.9 | 5.9 | 5.89 | 5.89 | 5.89 | 5.88 | 5.88 | 5.87 | 5.87 | 5.87 | 5.86 | 5.86 | 5.86 | 5.85 | 5.85 | 5.85 | 5.84 | 5.83 | 5.82 | 5.8 | 5.79 | 5.77 | 5.75 | 5.72 | 5.7 | 5.69 | 5.67 | 5.65 | 5.64 | 5.61 | 5.59 | 5.57 | 5.55 | 5.52 | 5.49 | 5.46 | 5.43 | 5.4 | 5.37 | 5.33 | 5.29 | 5.24 | 5.19 | 5.14 | 5.11 | 5.04 | 4.98 | 4.94 | 4.86 | 4.8 | 4.73 | 4.66 | 4.57 | 4.5 | 4.42 | 4.32 | 4.18 | 4.1 | 3.97 | 3.88 | 3.77 | 3.62 | 3.51 | 3.36 | 3.22 | 3.05 | 2.9 | 2.74 | 2.55 | 2.39 | 2.19 | 2.01 | 1.79 | 1.59 | 1.4 | 1.15 | 0.94 | 0.68 | 0.46 | 0.35 | 0.12 | 0
POpc | 48.8635 | 414.414 | 423.9222 | 433.1912 | 441.5412 | 450.6156 | 459.9885 | 468.9435 | 478.0179 | 533.1807 | 577.7624 | 632.2368 | 686.7708 | 741.126 | 785.9452 | 838.8309 | 892.8569 | 947.002 | 1000.9684 | 1045.5339 | 1098.9055 | 1143.709 | 1204.2756 | 1248.8257 | 1311.4926 | 1355.8051 | 1409.265 | 1453.3992 | 1515.2346 | 1559.6659 | 1609.7577 | 1662.5347 | 1715.3118 | 1759.4902 | 1820.8657 | 1870.1279 | 1922.52 | 1966.1504 | 2027.0673 | 2070.6384 | 2119.2668 | 2171.334 | 2223.342 | 2284.0969 | 2327.3579 | 2374.6321 | 2426.2571 | 2477.5869 | 2524.5718 | 2575.8147 | 2626.9399 | 2673.6362 | 2724.498 | 2770.5813 | 2829.3987 | 2871.6626 | 2925.605 | 2975.8252 | 3017.7241 | 3070.7817 | 3112.4338 | 3170.7585 | 3214.9202 | 3258.7949 | 3302.3262 | 3348.2244 | 3390.9136 | 3435.8042 | 3471.7925 | 3500.8687 | 3504.0178 | 3521.3704 | 3524.4155 | 3542.6631 | 3544.0632 | 3555.3376 | 3565.0227 | 3566.9167 | 3569.1497 | 3578.7817 | 3581.1267 | 3582.6882 | 3577.3926 | 3578.094 | 3572.2849 | 3565.5034 | 3559.1118 | 3551.4099 | 3536.6216 | 3521.3113 | 3512.9209 | 3488.9399 | 3465.2334 | 3448.6633 | 3415.3164 | 3389.0881 | 3355.8403 | 3321.1353 | 3276.6902 | 3240.7649 | 3196.6765 | 3141.8499 | 3060.3452 | 3013.0081 | 2935.4182 | 2879.3093 | 2810.4595 | 2713.4434 | 2642.1526 | 2541.7727 | 2447.3611 | 2330.688 | 2225.3149 | 2112.5674 | 1976.0714 | 1859.5874 | 1712.5801 | 1578.7344 | 1412.9543 | 1260.4884 | 1114.47 | 920.0115 | 755.1208 | 548.9776 | 372.8898 | 284.284 | 97.86 | 0
VOpc | 8.1712 | 69.3 | 70.89 | 72.44 | 73.96 | 75.48 | 77.05 | 78.55 | 80.07 | 89.31 | 96.94 | 106.08 | 115.23 | 124.35 | 131.87 | 140.98 | 150.06 | 159.16 | 168.23 | 175.72 | 184.69 | 192.22 | 202.74 | 210.24 | 220.79 | 228.25 | 237.25 | 244.68 | 255.09 | 262.57 | 271.46 | 280.36 | 289.26 | 296.71 | 307.06 | 315.9 | 324.75 | 332.12 | 342.41 | 349.77 | 358.59 | 367.4 | 376.2 | 386.48 | 393.8 | 402.48 | 411.23 | 419.93 | 428.62 | 437.32 | 446 | 454.7 | 463.35 | 471.99 | 482.01 | 489.21 | 499.25 | 507.82 | 514.97 | 524.92 | 532.04 | 542.01 | 550.5 | 558.97 | 567.41 | 577.28 | 585.65 | 595.46 | 603.79 | 612.04 | 614.74 | 618.87 | 621.59 | 627.02 | 628.38 | 633.75 | 637.75 | 640.38 | 643.09 | 648.33 | 652.3 | 656.17 | 658.82 | 662.61 | 665.23 | 668.95 | 672.8 | 677.75 | 681.43 | 685.08 | 687.46 | 692.25 | 695.83 | 698.11 | 702.74 | 706.06 | 709.48 | 712.69 | 717 | 720.17 | 723.23 | 727.28 | 732.14 | 734.88 | 739.4 | 742.09 | 745.48 | 749.57 | 752.75 | 756.48 | 760.05 | 764.16 | 767.35 | 771.01 | 774.93 | 778.07 | 782 | 785.44 | 789.36 | 792.76 | 796.05 | 800.01 | 803.32 | 807.32 | 810.63 | 812.24 | 815.5 | 817.15
IOpc | 5.98 | 5.98 | 5.98 | 5.98 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.97 | 5.96 | 5.96 | 5.96 | 5.96 | 5.96 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.95 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.94 | 5.93 | 5.93 | 5.93 | 5.93 | 5.93 | 5.92 | 5.92 | 5.92 | 5.92 | 5.92 | 5.91 | 5.91 | 5.91 | 5.91 | 5.91 | 5.9 | 5.9 | 5.9 | 5.89 | 5.89 | 5.89 | 5.88 | 5.88 | 5.87 | 5.87 | 5.87 | 5.86 | 5.86 | 5.86 | 5.85 | 5.85 | 5.85 | 5.84 | 5.83 | 5.82 | 5.8 | 5.79 | 5.77 | 5.75 | 5.72 | 5.7 | 5.69 | 5.67 | 5.65 | 5.64 | 5.61 | 5.59 | 5.57 | 5.55 | 5.52 | 5.49 | 5.46 | 5.43 | 5.4 | 5.37 | 5.33 | 5.29 | 5.24 | 5.19 | 5.14 | 5.11 | 5.04 | 4.98 | 4.94 | 4.86 | 4.8 | 4.73 | 4.66 | 4.57 | 4.5 | 4.42 | 4.32 | 4.18 | 4.1 | 3.97 | 3.88 | 3.77 | 3.62 | 3.51 | 3.36 | 3.22 | 3.05 | 2.9 | 2.74 | 2.55 | 2.39 | 2.19 | 2.01 | 1.79 | 1.59 | 1.4 | 1.15 | 0.94 | 0.68 | 0.46 | 0.35 | 0.12 | 0
POpc | 48.8635 | 414.414 | 423.9222 | 433.1912 | 441.5412 | 450.6156 | 459.9885 | 468.9435 | 478.0179 | 533.1807 | 577.7624 | 632.2368 | 686.7708 | 741.126 | 785.9452 | 838.8309 | 892.8569 | 947.002 | 1000.9684 | 1045.5339 | 1098.9055 | 1143.709 | 1204.2756 | 1248.8257 | 1311.4926 | 1355.8051 | 1409.265 | 1453.3992 | 1515.2346 | 1559.6659 | 1609.7577 | 1662.5347 | 1715.3118 | 1759.4902 | 1820.8657 | 1870.1279 | 1922.52 | 1966.1504 | 2027.0673 | 2070.6384 | 2119.2668 | 2171.334 | 2223.342 | 2284.0969 | 2327.3579 | 2374.6321 | 2426.2571 | 2477.5869 | 2524.5718 | 2575.8147 | 2626.9399 | 2673.6362 | 2724.498 | 2770.5813 | 2829.3987 | 2871.6626 | 2925.605 | 2975.8252 | 3017.7241 | 3070.7817 | 3112.4338 | 3170.7585 | 3214.9202 | 3258.7949 | 3302.3262 | 3348.2244 | 3390.9136 | 3435.8042 | 3471.7925 | 3500.8687 | 3504.0178 | 3521.3704 | 3524.4155 | 3542.6631 | 3544.0632 | 3555.3376 | 3565.0227 | 3566.9167 | 3569.1497 | 3578.7817 | 3581.1267 | 3582.6882 | 3577.3926 | 3578.094 | 3572.2849 | 3565.5034 | 3559.1118 | 3551.4099 | 3536.6216 | 3521.3113 | 3512.9209 | 3488.9399 | 3465.2334 | 3448.6633 | 3415.3164 | 3389.0881 | 3355.8403 | 3321.1353 | 3276.6902 | 3240.7649 | 3196.6765 | 3141.8499 | 3060.3452 | 3013.0081 | 2935.4182 | 2879.3093 | 2810.4595 | 2713.4434 | 2642.1526 | 2541.7727 | 2447.3611 | 2330.688 | 2225.3149 | 2112.5674 | 1976.0714 | 1859.5874 | 1712.5801 | 1578.7344 | 1412.9543 | 1260.4884 | 1114.47 | 920.0115 | 755.1208 | 548.9776 | 372.8898 | 284.284 | 97.86 | 0